## Plate 1 - Sheet1
Software Version | 2.07.17
Experiment File Path: | C:\Users\Student\Desktop\Plate Results\Liquid Test 2 Trial 1.xpt
Protocol File Path: | C:\Users\Student\Desktop\Read Protocols\Test Solution B Read.prt
Plate Number | Plate 1
Date | 2015-05-02
Time | 12:31
Reader Type: | ELx800
Reader Serial Number: | Unknown
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Comment | Beginning test procedure for BioTek Test Solution B ...
Display comment when procedure is run
Plate Out/In | Starting Protocol
Plate In
Read | Read I
Absorbance Endpoint
Full Plate
Wavelengths: 450, 630
Read Speed: Normal
Read | Read II
Absorbance Endpoint
Full Plate
Wavelengths: 450, 630
Read Speed: Normal
Read | Read III
Absorbance Endpoint
Full Plate
Wavelengths: 450, 630
Read Speed: Normal
Read | Read IV
| Absorbance Endpoint | [13 empty] | Analyses | [10 empty] | Summary of Tests
Full Plate
| Wavelengths: 450, 630 | [24 empty] | Linearity Test: Passed with r^2=0.99973. Repeatability Test: Passed with zero values surpassing the allowed deviation. Alignment Test: Passed within accuracy specifications.
| Read Speed: Normal | [13 empty] | Standard Deviation Values for Individual Wells (450nm Read); n=5
Read | Read V | [14 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Absorbance Endpoint | [13 empty] | A | 3.1032e-17 | 0.00044721 | 0.00044721 | 0.00054772 | 0.0016733 | 0.00083666 | 0.0013038 | 0.0013038 | 0.00044721 | 0.00054772
| Full Plate | [13 empty] | B | 0.0035777 | 0.00054772 | 0.0011402 | 0 | 0.001 | 0.00070711 | 0.00083666 | 0.00044721 | 0.00083666 | 0.0011402
| Wavelengths: 450, 630 | [13 empty] | C | 3.1032e-17 | 0.001 | 0.0011402 | 0 | 0.00044721 | 0.0011402 | 0.00044721 | 0.00044721 | 0 | 0.0017889
| Read Speed: Normal | [13 empty] | D | 0.00044721 | 0.00044721 | 0.0013038 | 0.00054772 | 0.001 | 0.00083666 | 0.00044721 | 0.00070711 | 0 | 0.0013038
Plate Out | [14 empty] | E | 0 | 0.00054772 | 0.0018166 | 0.00054772 | 0.0020736 | 0.00083666 | 0.00044721 | 0.00089443 | 0.0013416 | 0.0015166
Comment | Finished test read for BioTek Test Solution B ... | [13 empty] | F | 0.00044721 | 0.00054772 | 0.00044721 | 0.0011402 | 0.04221 | 0.0018166 | 0 | 0.00044721 | 0.00044721 | 0.0016432
| Do not display comment when procedure is run | [13 empty] | G | 0.00054772 | 0.00054772 | 0.00070711 | 0.0019235 | 0.00083666 | 0.00089443 | 0.00083666 | 0.00044721 | 0.00070711 | 0.0016432
[15 empty] | H | 0.00044721 | 0 | 0.00083666 | 0.00083666 | 0.0011402 | 0.0013038 | 0.0012247 | 0.0016733 | 0.00083666 | 0.0015166
Results
Mean Values for Individual Wells (450nm Read); n=5
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| A | 0.21 | 0.383 | 0.558 | 0.732 | 0.924 | 1.071 | 1.255 | 1.432 | 1.594 | 1.771 | 0.04 | 0.046 | Read I:450 | A | 0.21 | 0.3828 | 0.5582 | 0.7326 | 0.9214 | 1.0722 | 1.2538 | 1.4308 | 1.5938 | 1.7704
|  | 0.043 | 0.039 | 0.041 | 0.04 | 0.045 | 0.041 | 0.04 | 0.042 | 0.039 | 0.039 | 0.031 | 0.036 | Read I:630 | B | 0.2104 | 0.3784 | 0.5584 | 0.732 | 0.917 | 1.071 | 1.2478 | 1.4292 | 1.5882 | 1.7686
|  | 0.21 | 0.383 | 0.558 | 0.733 | 0.922 | 1.073 | 1.255 | 1.432 | 1.594 | 1.771 | 0.04 | 0.046 | Read II:450 | C | 0.208 | 0.387 | 0.5564 | 0.736 | 0.9082 | 1.0734 | 1.2478 | 1.4262 | 1.6 | 1.7722
|  | 0.043 | 0.039 | 0.04 | 0.039 | 0.044 | 0.041 | 0.039 | 0.042 | 0.038 | 0.038 | 0.03 | 0.036 | Read II:630 | D | 0.2102 | 0.3868 | 0.5532 | 0.7314 | 0.912 | 1.0758 | 1.2452 | 1.426 | 1.598 | 1.7628
|  | 0.21 | 0.383 | 0.559 | 0.733 | 0.921 | 1.073 | 1.254 | 1.431 | 1.594 | 1.77 | 0.04 | 0.046 | Read III:450 | E | 0.209 | 0.3836 | 0.5606 | 0.7436 | 0.9096 | 1.0758 | 1.2348 | 1.4336 | 1.5984 | 1.7686
|  | 0.043 | 0.039 | 0.04 | 0.04 | 0.045 | 0.041 | 0.04 | 0.042 | 0.039 | 0.038 | 0.031 | 0.036 | Read III:630 | F | 0.2058 | 0.3814 | 0.5662 | 0.7554 | 1.0312 | 1.0716 | 1.246 | 1.4302 | 1.6018 | 1.7782
|  | 0.21 | 0.382 | 0.558 | 0.732 | 0.92 | 1.072 | 1.253 | 1.43 | 1.594 | 1.77 | 0.04 | 0.046 | Read IV:450 | G | 0.2106 | 0.3804 | 0.551 | 0.7348 | 0.9078 | 1.0576 | 1.2428 | 1.4292 | 1.601 | 1.7762
|  | 0.043 | 0.039 | 0.04 | 0.039 | 0.044 | 0.04 | 0.039 | 0.042 | 0.038 | 0.038 | 0.031 | 0.036 | Read IV:630 | H | 0.2118 | 0.381 | 0.5558 | 0.7318 | 0.9144 | 1.0642 | 1.251 | 1.4304 | 1.5978 | 1.7586
|  | 0.21 | 0.383 | 0.558 | 0.733 | 0.92 | 1.072 | 1.252 | 1.429 | 1.593 | 1.77 | 0.04 | 0.046 | Read V:450
|  | 0.042 | 0.039 | 0.039 | 0.039 | 0.044 | 0.04 | 0.039 | 0.041 | 0.038 | 0.037 | 0.031 | 0.036 | Read V:630 | Exp. Average: | 0.20947 | 0.38267 | 0.55747 | 0.7372 | 0.9277 | 1.0702 | 1.2462 | 1.4295 | 1.5974 | 1.7694
| B | 0.205 | 0.379 | 0.56 | 0.732 | 0.918 | 1.072 | 1.249 | 1.43 | 1.588 | 1.77 | 0.04 | 0.04 | Read I:450 | Expected: | 0.2 | 0.4 | 0.6 | 0.8 | 1 | 1.2 | 1.4 | 1.6 | 1.8 | 2
|  | 0.041 | 0.04 | 0.039 | 0.043 | 0.038 | 0.039 | 0.039 | 0.039 | 0.039 | 0.038 | 0.031 | 0.031 | Read I:630
|  | 0.209 | 0.379 | 0.559 | 0.732 | 0.918 | 1.071 | 1.248 | 1.429 | 1.589 | 1.769 | 0.04 | 0.041 | Read II:450 | Allowed Deviation Values (See ELx800 Standards)
|  | 0.041 | 0.04 | 0.038 | 0.042 | 0.038 | 0.038 | 0.038 | 0.039 | 0.038 | 0.038 | 0.031 | 0.031 | Read II:630 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
|  | 0.211 | 0.378 | 0.558 | 0.732 | 0.917 | 1.071 | 1.248 | 1.429 | 1.589 | 1.769 | 0.04 | 0.041 | Read III:450 | A | 0.00605 | 0.006914 | 0.007791 | 0.008663 | 0.009607 | 0.010361 | 0.011269 | 0.012154 | 0.012969 | 0.013852
|  | 0.041 | 0.04 | 0.039 | 0.043 | 0.038 | 0.039 | 0.039 | 0.039 | 0.039 | 0.038 | 0.031 | 0.032 | Read III:630 | B | 0.006052 | 0.006892 | 0.007792 | 0.00866 | 0.009585 | 0.010355 | 0.011239 | 0.012146 | 0.012941 | 0.013843
|  | 0.213 | 0.378 | 0.558 | 0.732 | 0.916 | 1.071 | 1.247 | 1.429 | 1.588 | 1.768 | 0.04 | 0.041 | Read IV:450 | C | 0.00604 | 0.006935 | 0.007782 | 0.00868 | 0.009541 | 0.010367 | 0.011239 | 0.012131 | 0.013 | 0.013861
|  | 0.041 | 0.04 | 0.038 | 0.043 | 0.038 | 0.038 | 0.039 | 0.039 | 0.038 | 0.038 | 0.031 | 0.032 | Read IV:630 | D | 0.006051 | 0.006934 | 0.007766 | 0.008657 | 0.00956 | 0.010379 | 0.011226 | 0.01213 | 0.01299 | 0.013814
|  | 0.214 | 0.378 | 0.557 | 0.732 | 0.916 | 1.07 | 1.247 | 1.429 | 1.587 | 1.767 | 0.04 | 0.041 | Read V:450 | E | 0.006045 | 0.006918 | 0.007803 | 0.008718 | 0.009548 | 0.010379 | 0.011174 | 0.012168 | 0.012992 | 0.013843
|  | 0.04 | 0.04 | 0.038 | 0.042 | 0.038 | 0.038 | 0.038 | 0.038 | 0.038 | 0.037 | 0.031 | 0.031 | Read V:630 | F | 0.006029 | 0.006907 | 0.007831 | 0.008777 | 0.010156 | 0.010358 | 0.01123 | 0.012151 | 0.013009 | 0.013891
| C | 0.208 | 0.388 | 0.558 | 0.736 | 0.908 | 1.075 | 1.248 | 1.427 | 1.6 | 1.774 | 0.04 | 0.041 | Read I:450 | G | 0.006053 | 0.006902 | 0.007755 | 0.008674 | 0.009539 | 0.010288 | 0.011214 | 0.012146 | 0.013005 | 0.013881
|  | 0.041 | 0.041 | 0.042 | 0.041 | 0.039 | 0.04 | 0.038 | 0.038 | 0.039 | 0.038 | 0.031 | 0.032 | Read I:630 | H | 0.006059 | 0.006905 | 0.007779 | 0.008659 | 0.009572 | 0.010321 | 0.011255 | 0.012152 | 0.012989 | 0.013793
|  | 0.208 | 0.388 | 0.557 | 0.736 | 0.909 | 1.074 | 1.248 | 1.426 | 1.6 | 1.774 | 0.04 | 0.042 | Read II:450
|  | 0.04 | 0.041 | 0.041 | 0.04 | 0.039 | 0.039 | 0.038 | 0.038 | 0.038 | 0.038 | 0.031 | 0.032 | Read II:630
|  | 0.208 | 0.387 | 0.556 | 0.736 | 0.908 | 1.073 | 1.248 | 1.426 | 1.6 | 1.772 | 0.04 | 0.041 | Read III:450
|  | 0.04 | 0.041 | 0.042 | 0.041 | 0.039 | 0.04 | 0.038 | 0.038 | 0.039 | 0.038 | 0.031 | 0.032 | Read III:630
|  | 0.208 | 0.386 | 0.556 | 0.736 | 0.908 | 1.073 | 1.247 | 1.426 | 1.6 | 1.771 | 0.04 | 0.041 | Read IV:450
|  | 0.04 | 0.041 | 0.042 | 0.041 | 0.039 | 0.039 | 0.038 | 0.038 | 0.039 | 0.038 | 0.031 | 0.032 | Read IV:630
|  | 0.208 | 0.386 | 0.555 | 0.736 | 0.908 | 1.072 | 1.248 | 1.426 | 1.6 | 1.77 | 0.04 | 0.041 | Read V:450
|  | 0.04 | 0.041 | 0.041 | 0.04 | 0.038 | 0.039 | 0.037 | 0.037 | 0.038 | 0.037 | 0.03 | 0.032 | Read V:630
| D | 0.211 | 0.387 | 0.555 | 0.732 | 0.913 | 1.077 | 1.246 | 1.427 | 1.598 | 1.764 | 0.043 | 0.04 | Read I:450
|  | 0.042 | 0.047 | 0.04 | 0.041 | 0.039 | 0.04 | 0.038 | 0.037 | 0.039 | 0.039 | 0.033 | 0.03 | Read I:630
|  | 0.21 | 0.387 | 0.554 | 0.732 | 0.913 | 1.076 | 1.245 | 1.426 | 1.598 | 1.764 | 0.043 | 0.04 | Read II:450
|  | 0.042 | 0.047 | 0.04 | 0.041 | 0.039 | 0.04 | 0.038 | 0.037 | 0.039 | 0.038 | 0.033 | 0.03 | Read II:630
|  | 0.21 | 0.386 | 0.553 | 0.731 | 0.912 | 1.076 | 1.245 | 1.426 | 1.598 | 1.763 | 0.043 | 0.04 | Read III:450
|  | 0.042 | 0.047 | 0.04 | 0.041 | 0.039 | 0.04 | 0.038 | 0.037 | 0.039 | 0.039 | 0.033 | 0.031 | Read III:630
|  | 0.21 | 0.387 | 0.552 | 0.731 | 0.911 | 1.075 | 1.245 | 1.425 | 1.598 | 1.762 | 0.043 | 0.04 | Read IV:450
|  | 0.042 | 0.047 | 0.04 | 0.041 | 0.039 | 0.04 | 0.038 | 0.037 | 0.039 | 0.038 | 0.033 | 0.031 | Read IV:630
|  | 0.21 | 0.387 | 0.552 | 0.731 | 0.911 | 1.075 | 1.245 | 1.426 | 1.598 | 1.761 | 0.043 | 0.04 | Read V:450
|  | 0.042 | 0.047 | 0.039 | 0.04 | 0.039 | 0.039 | 0.037 | 0.037 | 0.039 | 0.038 | 0.033 | 0.031 | Read V:630
| E | 0.209 | 0.384 | 0.563 | 0.744 | 0.912 | 1.077 | 1.235 | 1.435 | 1.597 | 1.77 | 0.041 | 0.039 | Read I:450
|  | 0.042 | 0.04 | 0.044 | 0.044 | 0.041 | 0.04 | 0.038 | 0.038 | 0.038 | 0.041 | 0.031 | 0.03 | Read I:630
|  | 0.209 | 0.384 | 0.562 | 0.744 | 0.911 | 1.076 | 1.235 | 1.434 | 1.597 | 1.77 | 0.041 | 0.04 | Read II:450
|  | 0.042 | 0.04 | 0.043 | 0.044 | 0.041 | 0.039 | 0.038 | 0.038 | 0.038 | 0.041 | 0.031 | 0.03 | Read II:630
|  | 0.209 | 0.384 | 0.56 | 0.744 | 0.91 | 1.076 | 1.235 | 1.433 | 1.599 | 1.769 | 0.041 | 0.04 | Read III:450
|  | 0.042 | 0.04 | 0.044 | 0.044 | 0.041 | 0.04 | 0.038 | 0.038 | 0.038 | 0.041 | 0.031 | 0.03 | Read III:630
|  | 0.209 | 0.383 | 0.559 | 0.743 | 0.908 | 1.075 | 1.234 | 1.433 | 1.599 | 1.767 | 0.041 | 0.04 | Read IV:450
|  | 0.042 | 0.04 | 0.044 | 0.044 | 0.041 | 0.039 | 0.038 | 0.038 | 0.038 | 0.041 | 0.031 | 0.03 | Read IV:630
|  | 0.209 | 0.383 | 0.559 | 0.743 | 0.907 | 1.075 | 1.235 | 1.433 | 1.6 | 1.767 | 0.041 | 0.04 | Read V:450
|  | 0.041 | 0.039 | 0.043 | 0.043 | 0.041 | 0.039 | 0.038 | 0.037 | 0.037 | 0.04 | 0.031 | 0.03 | Read V:630
| F | 0.206 | 0.382 | 0.566 | 0.757 | 1.055 | 1.074 | 1.246 | 1.431 | 1.602 | 1.78 | 0.04 | 0.04 | Read I:450
|  | 0.039 | 0.04 | 0.042 | 0.045 | 0.107 | 0.039 | 0.038 | 0.038 | 0.038 | 0.041 | 0.031 | 0.03 | Read I:630
|  | 0.206 | 0.382 | 0.566 | 0.756 | 1.052 | 1.073 | 1.246 | 1.43 | 1.601 | 1.779 | 0.041 | 0.04 | Read II:450
|  | 0.039 | 0.039 | 0.042 | 0.045 | 0.105 | 0.039 | 0.038 | 0.038 | 0.038 | 0.041 | 0.031 | 0.03 | Read II:630
|  | 0.206 | 0.381 | 0.567 | 0.755 | 1.048 | 1.071 | 1.246 | 1.43 | 1.602 | 1.779 | 0.041 | 0.04 | Read III:450
|  | 0.039 | 0.04 | 0.042 | 0.045 | 0.104 | 0.039 | 0.038 | 0.038 | 0.038 | 0.041 | 0.031 | 0.03 | Read III:630
|  | 0.206 | 0.381 | 0.566 | 0.755 | 1.045 | 1.07 | 1.246 | 1.43 | 1.602 | 1.777 | 0.04 | 0.04 | Read IV:450
|  | 0.039 | 0.039 | 0.042 | 0.045 | 0.102 | 0.039 | 0.038 | 0.038 | 0.038 | 0.041 | 0.032 | 0.031 | Read IV:630
|  | 0.205 | 0.381 | 0.566 | 0.754 | 0.956 | 1.07 | 1.246 | 1.43 | 1.602 | 1.776 | 0.041 | 0.04 | Read V:450
|  | 0.038 | 0.039 | 0.041 | 0.044 | 0.053 | 0.038 | 0.037 | 0.037 | 0.037 | 0.04 | 0.031 | 0.03 | Read V:630
| G | 0.211 | 0.381 | 0.552 | 0.732 | 0.909 | 1.059 | 1.244 | 1.43 | 1.602 | 1.777 | 0.039 | 0.04 | Read I:450
|  | 0.041 | 0.039 | 0.041 | 0.039 | 0.039 | 0.038 | 0.038 | 0.04 | 0.038 | 0.038 | 0.03 | 0.03 | Read I:630
|  | 0.211 | 0.381 | 0.551 | 0.734 | 0.908 | 1.058 | 1.243 | 1.429 | 1.601 | 1.778 | 0.04 | 0.04 | Read II:450
|  | 0.041 | 0.039 | 0.04 | 0.039 | 0.038 | 0.038 | 0.038 | 0.04 | 0.038 | 0.037 | 0.03 | 0.03 | Read II:630
|  | 0.211 | 0.38 | 0.551 | 0.735 | 0.908 | 1.057 | 1.243 | 1.429 | 1.601 | 1.777 | 0.04 | 0.04 | Read III:450
|  | 0.041 | 0.039 | 0.04 | 0.039 | 0.039 | 0.038 | 0.038 | 0.04 | 0.038 | 0.038 | 0.03 | 0.031 | Read III:630
|  | 0.21 | 0.38 | 0.551 | 0.736 | 0.907 | 1.057 | 1.242 | 1.429 | 1.601 | 1.775 | 0.04 | 0.04 | Read IV:450
|  | 0.041 | 0.039 | 0.04 | 0.039 | 0.038 | 0.038 | 0.038 | 0.04 | 0.038 | 0.037 | 0.031 | 0.031 | Read IV:630
|  | 0.21 | 0.38 | 0.55 | 0.737 | 0.907 | 1.057 | 1.242 | 1.429 | 1.6 | 1.774 | 0.04 | 0.04 | Read V:450
|  | 0.041 | 0.038 | 0.04 | 0.038 | 0.038 | 0.038 | 0.038 | 0.039 | 0.037 | 0.037 | 0.03 | 0.03 | Read V:630
| H | 0.212 | 0.381 | 0.557 | 0.733 | 0.916 | 1.066 | 1.253 | 1.433 | 1.599 | 1.76 | 0.04 | 0.04 | Read I:450
|  | 0.043 | 0.039 | 0.041 | 0.038 | 0.038 | 0.038 | 0.038 | 0.041 | 0.038 | 0.038 | 0.031 | 0.031 | Read I:630
|  | 0.212 | 0.381 | 0.556 | 0.732 | 0.915 | 1.065 | 1.251 | 1.431 | 1.598 | 1.76 | 0.04 | 0.04 | Read II:450
|  | 0.043 | 0.039 | 0.04 | 0.038 | 0.038 | 0.038 | 0.038 | 0.041 | 0.038 | 0.038 | 0.03 | 0.031 | Read II:630
|  | 0.212 | 0.381 | 0.556 | 0.732 | 0.914 | 1.064 | 1.251 | 1.43 | 1.598 | 1.759 | 0.04 | 0.041 | Read III:450
|  | 0.043 | 0.039 | 0.04 | 0.038 | 0.038 | 0.038 | 0.038 | 0.041 | 0.038 | 0.038 | 0.031 | 0.031 | Read III:630
|  | 0.212 | 0.381 | 0.555 | 0.731 | 0.914 | 1.063 | 1.25 | 1.429 | 1.597 | 1.757 | 0.04 | 0.04 | Read IV:450
|  | 0.042 | 0.039 | 0.04 | 0.038 | 0.038 | 0.038 | 0.038 | 0.041 | 0.038 | 0.038 | 0.031 | 0.031 | Read IV:630
|  | 0.211 | 0.381 | 0.555 | 0.731 | 0.913 | 1.063 | 1.25 | 1.429 | 1.597 | 1.757 | 0.04 | 0.04 | Read V:450
|  | 0.042 | 0.038 | 0.04 | 0.037 | 0.037 | 0.038 | 0.037 | 0.04 | 0.037 | 0.037 | 0.03 | 0.031 | Read V:630